## Slide 1: Part-VI
The main characteristics and limitations of gaseous detectors

## Slide 2: During last lectures we consider various designs of gaseous detectors: from a singe wire to micropattern

## Slide 3: Their main characteristics
1. Position resolution
2. Time resolution
3. Energy resolution
4. Maximum achievable counting rate
5. Maximum achievable gas gain

## Slide 4: Let’s consider these parameters in more details

## Slide 5: 1. Position resolution
Due to the small gap between electrodes and a small pitch of a pattern structure micropttern detectors have unprecidently high position resolution approaching ~10 µm which is close the solid state detectors

## Slide 6
"InGrid" Detector: Single Electron Response and Discharges
Fe55
source
Observe electrons (~220) from an X-ray (5.9 keV) conversion one by one and count them in micro-TPC (6 cm drift)  Study single electron response
1.5 cm
P. Colas, RD51 Collab. Meet.,
Jun.16-17, 2009, WG2 Meeting
Provoke discharges by introducing small amount of Thorium in the Ar gas - Thorium decays to Radon 222 which emits 2 alphas of 6.3 & 6.8 MeV
 Round-shape images of discharges
M. Fransen, RD51 Collab. Meet.,
Oct.13-15, 2008, WG2 Meeting

## Slide 7: 2. Time resolution
Although intrinsically (due to the small gap) time resolutions of some micropattern detectors are rather high, in practice it is less than that achieved with micro gap parallel-plate detectors
The time resolution depends on several factors, one of them is the jitter in creation/arrival primary electrons

## Slide 8
Ne = n0exp αx, so the maximum gain obtain electrons create
close to the cathode.
Another important factors are a high gas gain (signal shaping)
and a space charge effect
Small gap PPACs

## Slide 9: 3. Energy resolution
Main peak
Escape peak

## Slide 10
Schematic drawing illustrating the appearance of a fluorescent photoelectron following
the transition of an electron from the outer shell to the vacancy in the inner shell

## Slide 11: 4. Maximum achievable counting rate

## Slide 12
The physics of gain drop with rate in
wire detectors is a space charge effect

## Slide 13
The first version of proportional counters has not any imaging capability
(The space charge appear at some critical value of An0 which depends on geometry and electric field)

## Slide 14: The space charge in wire-type detectors effect plays a “stabilization” role

## Slide 15
At high counting rates ions start
Contributing!

## Slide 16
Parallel-plate avalanche chamber
Physicsof breakdown : avalanche overlapping
Raether limit
No space charge
Breakdowns

## Slide 17: Physics of breakdown-avalanche overlapping
At An0~108 electrons transition to a streamer
As a results An0~108 electrons

## Slide 18
Parallel-plate avalanche chamber
Raether limit

## Slide 19
Micropattern detectors
The maximum achievable gain, limited by breakdown, as
a function of the x-ray flux for various detectors: (1) PPAC with
3mm gap; (2) MICROMEGAS; (3) PPAC with 0.6mm gap;
(4) microstrip gas chamber with 1mm strip pitch; (5) microstrip gas
chamber with 0.2mm strip pitch; (6) GEM; (7) microgap detectors
with 0.2mm strip pitch.

## Slide 20: 5. Maximum achievable gas gain
Wire-type detectors
Parallel-plate detectors
Aγph=1 or Aγ+=1
(radial electric field)
An0~108 electrons
(parallel field lines)

## Slide 21: Why in micropattern detectors a discharge is governed by the Rather limit?
There are always regions of parallel electric fields

## Slide 22
Micropattern detectors
The maximum achievable gain, limited by breakdown, as
a function of the x-ray flux for various detectors: (1) PPAC with
3mm gap; (2) MICROMEGAS; (3) PPAC with 0.6mm gap;
(4) microstrip gas chamber with 1mm strip pitch; (5) microstrip gas
chamber with 0.2mm strip pitch; (6) GEM; (7) microgap detectors
with 0.2mm strip pitch.

## Slide 23: The conclusion concerning the counting rate capability:
Micropattern detectors have in general higher rate capability than MWPC, however less or equal than parallel-plate chambers

## Slide 24: Summary
Pos. resolution | Time resolution | Energy resol. | Max. achievable counting rate | Max. achievable gains
Classical gas detectors | 70 ps | 12-17% FWHM | The highest in PPAC | Aγ=1 in wire-type detectors and An0~108 electrons in PPAC
Micropattern detectors | 2-3 ns | 12-17% FWHM | Below or equal to PPAC | An0~106-107 electrons

## Slide 25: Qualitative comparison to other detectors
Detector type | Pos. resolution | Time resolution | Energy resol. | Max. achievable counting rate | Max. achievable gains
Classical gas detectors | Typically~100 µm | 70 ps | 12-17% FWHM | The highest in PPAC | Aγ=1 in wire-type detectors and An0~108 electrons in PPAC
Micropattern detectors | Close to 20 -30 µm | 2-3 ns | 12-17% FWHM | Below or equal to PPAC | An0~106-107 electrons
Vacuum detectors | Up to 3-10 µm | 2-3 ns PMT 50ps or less MCP | Often much less than 10% | Below or equal to gaseous detectors | ~105
Solid-state detectors | Around 7 µm | Below 50ps | Often much less than 10% | Below or equal to gaseous detectors | 1 and high (>103) in avalanche detectors
Liquid detectors | Have potentials, but in practice > mm (depends on a design) | µs? (depends on a design) | Potentially high, but not fully exploited | Not less than gaseous detectors | Typically 1