## Slide 1: Part-VIII
Latest developments in spark-protective miropattern detectors

## Slide 2: In the previous lecture we described resistive GEM and MICROMEGAS detectors
This concept of spark protection allowed to reanimate many other old designs of micropattern detectors which were abanded because they could not withstand sparks

## Slide 3: As examples, we will introduce here three old designs which got a second life
Resistive microstrip detector
Resistive microdot
Resistive microstrip-microdot
Resistve microwell detector

## Slide 4: 1. Microstrip detector
Recall: it was the firs micropattern detector, invented by A.Oed

## Slide 5
A. Oed

## Slide 6
Side and top view of microstrip detectors

## Slide 7
Induced signals

## Slide 8
Position and energy resolutions

## Slide 9
Earler attempt to avoid sparks

## Slide 10: This detector could be easily destroyed by sparks and was finally abanded

## Slide 11: Resistive microstrip detector
Main steps in manufacturing
(side view)

## Slide 12
Top view
Photograph

## Slide 13
Another concept: microstrip-microgap detector to achieve simultaneously high position and time resolutions

## Slide 14
The microstrip-microgap approach was inspired by work of Portuguese group

## Slide 16
The average single-layer resolution is 77 ps.
The combined time resolution of the telescope
The bulk of the X distribution shows a width of 47 μm sigma, while Y distribution shows a width of 86 μm sigma.
(combination of three layers) was 77/√3 = 44 ps
Position and time resolution of this detector

## Slide 17: 2. Resistive Microdot detectors

## Slide 18: Conventional microdot detector

## Slide 20: Latest progress in resistive microdot detectors

## Slide 22
3. Another design if microdot detector: resistive microstrip-microdot

## Slide 23: 4.Micro-restive well
Was introduced by Ballazzini, Pisa
a long time ago, but abanded due to
the spark problems

## Slide 24
Its second birth
Israeli group

## Slide 25
The µ-RWELL architecture
The µ-RWELL_PCB is realized by coupling:
a “suitable WELL patterned kapton foil as “amplification stage”
a “resistive stage” for the discharge suppression & current evacuation
  “Low particle rate” (LR) << 100 kHz/cm2: single resistive layer  surface resistivity ~100 M/ (CMS-phase2 upgrade - SHIP)
  “High particle rate” (HR) >> 100 kHz/cm2: more sophisticated resistive scheme must be implemented (MPDG_NEXT- LNF & LHCb-muon upgrade)
a standard readout PCB
Drift/cathode PCB
Copper top layer (5µm)
DLC layer (0.1-0.2 µm)
R ̴50 -100 MΩ/□
Rigid PCB readout electrode
Well pitch: 140 µm
Well diameter: 70-50 µm
Kapton thickness: 50 µm
1
2
3
µ-RWELL PCB
G. Bencivenni et al., 2015_JINST_10_P02008
The µ-RWELL detector is composed by two elements:
the cathode and the µ-RWELL_PCB .

## Slide 26
The µ-RWELL architecture
The µ-RWELL_PCB is realized by coupling:
a “suitable WELL patterned kapton foil as “amplification stage”
a “resistive stage” for the discharge suppression & current evacuation
  “Low particle rate” (LR) << 100 kHz/cm2: single resistive layer  surface resistivity ~100 M/ (CMS-phase2 upgrade - SHIP)
  “High particle rate” (HR) >> 100 kHz/cm2: more sophisticated resistive scheme must be implemented (MPDG_NEXT- LNF & LHCb-muon upgrade)
a standard readout PCB
Drift/cathode PCB
Copper top layer (5µm)
DLC layer (0.1-0.2 µm)
R ̴50 -100 MΩ/□
Rigid PCB readout electrode
Well pitch: 140 µm
Well diameter: 70-50 µm
Kapton thickness: 50 µm
1
2
3
µ-RWELL PCB
G. Bencivenni et al., 2015_JINST_10_P02008
The µ-RWELL detector is composed by two elements:
the cathode and the µ-RWELL_PCB .

## Slide 27
DLC-coated kapton base material: DLC layer ~ 0.1-0.2 µm (50-100 M/)
Kapton layer 50 µm
Copper layer 5 µm
LR scheme: single resistive layer
HR scheme: double resistive layers
Strip kapton layer (50 µm)
pre-preg #106 (50 µm)
DLC-coated base material after copper and kapton chemical etching
Kapton layer (12-25 µm) with 1/cm2 vias density .
Screen printed with a “buried-resistances” pattern
DLC-coated kapton base material

## Slide 28: Principle of operation
top copper layer
HV
kapton
kapton
r
t

A voltage of 400-500 V between the
top copper layer and the grounded resistive foil,
generates an an electric field of ~100 kV/cm
into the WELL which acts as
multiplication channel
the charge induced on the resistive foil is
dispersed with a time constant, RC, determined by
the surface resistivity, 
the capacitance per unit area, which depends on the distance between the resistive foil and the pad readout plane, t
the dielectric constant of the kapton, r [M.S. Dixit et al., NIMA 566 (2006) 281]
the effect of the introduction of the resistive foil is the suppression of the
transition from streamer to spark by a local voltage drop around the avalanche location
Notes: 1) By applying a suitable voltage (400-500 V) between the top copper layer and the grounded bottom resistive layer, an electric field as high as ~100 kV/cm is generated into the WELL which acts as multiplication channel for electrons produced in the gas by an ionizing particle.
2) The localized charge induced on the resistive layer is dispersed with RC time constant, determined by the surface resistivity () and the capacitance per unit area, which depends on the spacing (t) between the resistive layer and the pad readout plane and on the dielectric constant (r) of the kapton.
(M.S. Dixit et al., NIMA 566 (2006) 281)
3) The effect of the introduction of the resistive layer is the suppression of the transition from streamer to spark by a local voltage drop around the avalanche location. The discharge quenching, allowing higher amplification field inside the WELL, permits to increase the detector gain. As a drawback, the capability to stand high particle fluxes is reduced.

## Slide 29: Towards large area & detector engineering
In the framework of the CMS-phase2 muon upgrade we are developing large size µ-RWELL. The R&D is performed in strict collaboration with Italian industrial partners (ELTOS SpA & MDT). The work will be performed in two years with following schedule:
Construction & test of the first 1.2x0.5m2 (GE1/1) µ-RWELL 2016
Mechanical study and mock-up of 1.8x1.2 m2 (GE2/1) µ-RWELL 12/2016
Construction & test of the first 1.8x1.2m2 (GE2/1) µ-RWELL 12/2017- 6/2018
1200 mm
1.2x0.5m2 (GE1/1) µ-RWELL
Four PCB µ-RWELL spliced with the same technique used for large ATLAS MM + only one cathode closing the detector
450
Splicing zone
< 0.5 mm wide
450
450
450
1.8x1.2m2 (GE2/1) µ-RWELL
LR scheme

## Slide 30: As can be seen from this review, resistive electrode approach gave birth to many designs of micropattern detectors
The classical GEM and MICROMEGAS start loosing their monopoly?