## Slide 1: Part XII
Homeland security

## Slide 2
Schlumberger scanners based on Tantalum convertor and MWPC
30% efficiency for 400keV gammas

## Slide 3: Ultra-low dose commercial airport scanner based on microstrip detectors

## Slide 4
High pressure micropattern detector
Advantages of MPGD :
Low noise
Large dynamic range
High radiation resistance
Fill factor 100%
Disadvantage:
High pressure
The MPGD for security (800 mm)

## Slide 12: Comments about the dose
Dose in Sv = Absorbed Dose in Gy x radiation weighting factor (WR)

## Slide 13
Imaging procedures and their approximate effective radiation doses* |  | 
Procedure | Average effective dose (mSv) | Range reported in the literature (mSv)
Bone density test+ | 0.001 | 0.00–0.035
X-ray, arm or leg | 0.001 | 0.0002–0.1
X-ray, panoramic dental | 0.01 | 0.007–0.09
X-ray, chest | 0.1 | 0.05–0.24
X-ray, abdominal | 0.7 | 0.04–1.1
Mammogram | 0.4 | 0.10–0.6
X-ray, lumbar spine | 1.5 | 0.5–1.8
CT, head | 2 | 0.9–4
CT, cardiac for calcium scoring | 3 | 1.0–12
Nuclear imaging, bone scan | 6.3 | 
CT, spine | 6 | 1.5–10
CT, pelvis | 6 | 3.3–10
CT, chest | 7 | 4.0–18
CT, abdomen | 8 | 3.5–25
CT, colonoscopy | 10 | 4.0–13.2
CT, angiogram | 16 | 5.0–32
CT, whole body | variable | 20 or more
Nuclear imaging, cardiac stress test | 40.7 | 
*The actual radiation exposure depends on many things, including the device itself, the duration of the scan, your size, and the sensitivity of the tissue being targeted. +Dual energy x-ray absorptiometry, or DXA. |  | 
Source: Mettler FA, et al. “Effective Doses in Radiology and Diagnostic Nuclear Medicine: A Catalog,” Radiology (July 2008), Vol. 248, pp. 254–63. |  | 

## Slide 14: Muon tomography

## Slide 15: Fl. Tech Concept – MT with MPGDs
Use Micro Pattern Gaseous Detectors for tracking cosmic ray muons
ADVANTAGES:
excellent spatial resolution
improves scattering angle
measurement
compact detector structure allows
for more compact MT station design
  thin detector layers
  small gaps between layers
  smaller scattering in detector itself
CHALLENGES:
requires large-area MPGDs
(MPGDs as muon detector !)
large number of electronics
channels (but occupancies very low)
low rates from cosmics, need good eff.
cost (but access to funding outside HEP)
That’s why we’re here today!
Θ
Θ
~ 1 cm
e-
μ
Readout electronics
Cargo container
hidden &
shielded
high-Z
nuclear
material
μ tracks
MPGD, e.g. GEM Detector
F. Sauli
MPGD Tracking Detector
MPGD Tracking Detector

## Slide 16: Monte Carlo Simulation
Basic Target
Muons originate here over
an area of 1,000,000 cm2
(1M muons in ~1min exposure)
GEM
detector
planes
Top View
5m
3m
CRY plane
GEMs
Side View
+
-
Generate cosmic ray muons with CRY (Lawrence Livermore NL)
Simulate geometry, target, detector, tracks with GEANT4
Take advantage of detailed description of multiple scattering effects within GEANT4
(follows Lewis theory of multiple scattering)
3 GEM layers
with 5mm gaps between layers
Typical Geometry:
10m
10m
4m
4m

## Slide 17
Experimentally obtained muon images of highly contrast objects

## Slide 18: Part-XIII
Plasma diagnostics

## Slide 22
Real-time x-ray imaging
of Tokamak plasma